## Slide 1: Galactomannan detection – sensitivity and specificity
Malcolm D Richardson
Mycology Reference Centre, Manchester

## Slide 2: Intended Learning Outcomes
To know the expected performance galactomannan detection (Aspergillus antigen) in serum in different patient populations
To appreciate the higher sensitivity of galactomannan in bronchoalveolar lavage fluids for the diagnosis of aspergillosis
The potential value of galactomannan detection in other sample types

## Slide 3: Galactomannan structure
Galactomannan
Galactose
Mannose
…
…

## Slide 4: Galactomannans and where they are found
Guar gum (from the guar bean) is a galactomannan which forms a gel in water. The food industry uses this material as a stabilizer in ice cream, cream cheese and salad dressings.
Seaweed
Ice pops
Piperacillin/Tazobactam and some other antibiotics

## Slide 5: Fungal species producing GM
GM may be detectable in disseminated histoplasmosis
Galactomannan is produced by the following fungi:
Penicillium chrysogenum,
Penicillium digitatum
Talaromyces marneffei
Paecilomyces variotii
Chaetomium globosum
Histoplasma capsulatum
Fusarium spp.
A. flavus produces less GM than A. fumigatus

## Slide 6: Patient and samples characteristics interfering with GM determination
Frequent false positives in:
Children (especially < 3years) (diet and Bifidobacterium)
Multiple myeloma (30%)
Piperacillin/Tazobactam (some preparations)
HSCT especially after resolution of neutropenia
Enteral nutrition
More false negatives in:
Haemolysed specimens
Hyperbilirubinaemia
Solid organ transplant recipients
Presence of anti-Aspergillus antibody
Notes: ++++ …over 80%
+++ over 60%
++ --50%
+ less than 50%

## Slide 7: GM cutoff for serum
Ullman et al. CMI , 2018, 24: e1 – e38
SoR = strength of recommendation
QoE = quality of experience
Notes: ++++ …over 80%
+++ over 60%
++ --50%
+ less than 50%

## Slide 8: Serum GM detection
Meta-analysis 1996- 2005: 27 studies and others
Population | Sensitivity (%) | Specificity (%)
Haematologic malignancy | 70 | 92
BMT | 82 | 86
Pediatric BMT + malignancy | 89 | 85
Solid organ transplant | 22 | 84
ICU patients | 33 | 97
Chronic pulmonary aspergillosis | 29* | 85
COPD exacerbation | 41 | -
Pfeiffer, Clin Infect Dis 2006; 42: 1417-27; Shin, J Infect 2014; 68:494
Yoshimura K, PLoS ONE 2018; 13(6): e0198479; Bock T, Crit Care Med 2018;47:198
* Needs confirmation
Notes: Right-Virchow robin space enlargement
Left- Ring enhancement

## Slide 9: Impact of mould active prophylaxis
Itraconazole, voriconazole and posaconazole prophylaxis in leukaemia and HSCT patients greatly reduces the utility of serum GM
Therefore regular screening during neutropenia is not cost-effective
Diagnosis may yield positives, if a breakthrough, but less confidence in negatives
Pfeiffer, Clin Infect Dis 2006; 42: 1417-27; Shin, J Infect 2014; 68:494
Yoshimura K, PLoS ONE 2018; 13(6): e0198479; Bock T, Crit Care Med 2018;;47:198
Notes: Right-Virchow robin space enlargement
Left- Ring enhancement

## Slide 10: Comparison of GM detection in serum with other biomarkers – meta-analysis
Sensitivity Specificity
Galactomannan 82% 92%
Glucan 77% 89%
Aspergillus PCR 77-88% 75-89%
White et al, Clin Infect Dis 2015:61:1293
Notes: ++++ …over 80%
+++ over 60%
++ --50%
+ less than 50%

## Slide 11: Bronchoalveolar lavage GM detection
Risk groups where broncheoalveolar (BAL) GM may be useful:
Medical ICU patients, especially steroid treated, COPD or influenza
Transplant recipients
Liver failure
Acute leukaemia and relapse lymphoma
AIDS
Chronic pulmonary aspergillosis
Lung cancer with unusual features

## Slide 12: BAL GM comparisons and antifungal therapy
Sanguinetti M, J Clin Microbiol 2003;41:3922
Culture Antigen PCR All haematological malignancy 6/20 20/20 18/20
17/20 (85%) in neutropaenic patients before antifungal Rx,
0% after 3d antifungal therapy

## Slide 13: GM cutoff for BAL
251 mixed population of patients: solid organ transplant 29%; leukaemia 20%
3 proven, 56 probable, 56 possible; 129 no IPA
OD index ≥0.8: optimal by ROC – many laboratories use 1.0
OD index ≥3.0: 100% specificity—rules in IPA
OD index <0.5: 96.6% specificity — virtually rules out IA
D’Haese J et al, J Clin Microbial 2012;50:1258
Notes: ++++ …over 80%
+++ over 60%
++ --50%
+ less than 50%

## Slide 14: BAL GM in ICU patients
110 patients out of 1,109 ICU admissions assessed in Belgium
26 proven IA cases
Sensitivity and specificity of BAL GM detection was 88% and 87%
11 of 26 (42%) BAL culture positive
Serum GM negative in 100%
Usual strategy now is to do a quick bronchoscopy and BAL within 24 hours of ICU admission for GM. Most efficient means of diagnosing IA
Meersseman, Am J Resp Ccrit Care Med 2008;177:27

## Slide 15: Invasive aspergillosis in AIDS
Denis et al, Clin Infect Dis 2015;61:1273
20 year prospective study in AIDS in France
Notes: Right-Virchow robin space enlargement
Left- Ring enhancement

## Slide 16: Other samples
Tissue
Sputum (higher cutoff)
Sinus aspirate (unreliable)
Food / antibiotics etc.
Pleural fluid
Pericardial fluid
CSF (best test of CNS aspergillosis)
Urine (currently unreliable)
GM is detectable in other samples:

## Slide 17: GM in other body fluids
Ullman et al. CMI , 2018, 24: e1 – e38

## Slide 18: GM compared with other tests
Eigl et al, Med Mycol, 2017, 55: 528-534

## Slide 19: Serum GM for disseminated histoplasmosis
Sensitivity 82%, specificity 100%, if cutoff 0.4
Iriart X, Int J Clin Microbiol 2014;304:1062
69 patients with AIDS, 30 with disseminated histoplasmosis, in French Guiana

## Slide 20: Serum GM for disseminated talaromycosis
Sensitivity 96%, specificity 91%, if cutoff 1.0
Zheng J, PLoS ONE 2015;10(6): e0130376
47 patients with AIDS, 24 with disseminated talaromycosis (T. marneffei infection), in China

## Slide 21: Interpreting galactomannan results
Galactomannan detection is usually the fastest and most sensitive way to make the diagnosis of invasive aspergillosis
False positives and false negatives occur
The highest diagnostic performance is in BAL (and possibly CSF)
Serum GM is useful if positive in a likely case, but often falsely negative
GM is detectable in disseminated histoplasmosis and talaromycosis

## Slide 22: Summary
Galactomannan is a polysaccharide found in the cell walls of many fungi (e.g. Aspergillus, Histoplasma) and also foods containing guar gum
The test can be used on many types of sample: serum, BAL, CSF, sputum, tissue and other body fluids
False negatives may be caused by antifungal prophylaxis
False positives may be caused by some preparations of piperacillin/Tazobactam
OD index cutoff affects sensitivity and specificity

## Slide 23: End